## Slide 1: In-Sillico Modelling for Non-Invasive Estimation of Static Compliance
Lasse Leuchtmann

## Slide 2: Agenda
Problem recap
Solution recap
Report corrections
Extended testing

## Slide 3: Esophageal Pressure
Transmural Pressures
  Pleural Pressure
Esophageal Manometry
In-sillico estimation

## Slide 4: Static Compliance
Necessity
Breathhold
In-sillico estimation

## Slide 5: Problem Statement
How can a model be developed which estimates a patient's Crs without the need for a breathhold?

## Slide 6: Hypothesis
Possible to measure Crs at static conditions during mechanical ventilation

## Slide 7: Phase 1 - Preprocessing and data extraction

## Slide 8: Phase 2 – Static Timeframe Detection

## Slide 9: Phase 3- Compliance estimation

## Slide 10: Results

## Slide 11: Results

## Slide 12: Report Corrections
Misleading figure
  Fig. 2.3 P. 5

## Slide 13: Report Corrections
Wrong statement
  Math Equation p. 20
If p(x) is evaluated at..

## Slide 14: Report Corrections
Wrong statement
  Math Equation p. 20-21
The expressions for y0,y1 and y2 are substituted in eq. 5.7,
leading to eq 5.1

## Slide 15: Report Corrections
Missing rows
  Table p. 29

## Slide 16: Extended Testing
Implemented using the method developed by [Al-Rawas et. Al., 2013], described in appendix E

## Slide 17: Extended Testing
Peso
v̇exp + Vtexp
Pao
v̇insp + Vtinsp

## Slide 18: Extended Testing – Trial part 1
Breaths = 79 C=63.5

## Slide 19: Extended Testing – Trial part 2
Breaths = 70 C=66.5

## Slide 20: Extended Testing – Trial part 4 (3 is NaN)
Breaths = 66 C=60.5

## Slide 21: Extended Testing – Trial part 5
Breaths = 67 C=65.3

## Slide 22: Extended Testing – Trial part 6
Breaths = 67 C=61.7

## Slide 23: Bland-Altmann Comparison
[Francesco et. Al 2015]

## Slide 24: Conclusion
The method proposed by [Al-Rawas et. Al, 2013] provides systematically offset results
  Thus, the method provides low accuracy but high precision for the given use case

## Slide 25: Conclusion
The report conclusion is not significantly altered
  “The models ability to estimate static compliance at no-flow conditions has error rates similar to other non-invasive estimation models. However, larger scale testing on additional test criteria is needed to generalize the study's results to a broader patient population.”